## water sampling
Water Sampling Method
for surface water:
rinse syringe 2 times
collect sample in syringe
filter with D size filter into bottle labeled for 1st filter
collect sample in syringe from 1st filter
filter with F size filter into bottle labeled for 2nd filter
upon returning to the lab, freeze
** collect two samples- one for DOC and one for nutrients
for well water:
use parastalic pump to pump water from groundwater well
attach large pump filter cap to the end of pump tubing
rinse filter 3x
pour into medium sized dark nalgenes
refrigerate after the field
filter using filter tower system in lab into small nalgenes
freeze
** collect enough sample to be filtered into 2 60mL samples

## CO2 and sensors
CO2 Sampling Method
for surface water:
launch HOBO barometric pressure sensor
launch Vaisala in open air (should read around 400 ppm)
place vaisala in surface water to be measured and stabalize there for at least 10 minutes
reocrd time and location of Vaisala recording
for well water:
unknown because CO2 is too high there
Other Sensors
HOBO sensors:
David and Sean have HOBO conductivity and water level loggers at each site
download HOBO sensors when out in the field, get data later?
YSI:
obtain a real time conductivity reading whenever collecting a water sample